EIC COURSE OUTCOME:

After successful completion of the course students will be able to

- UNDERSTAND the Principle of Measurement, Testing and Measuring instruments

- EXPLAIN principle of operation for various sensors.

- DESCRIBE functional blocks of data acquisition system.

- DETERMINE transfer function of given control system using block diagram reduction techniques and masons gain formula.

- DETERMINE stability of given control system using time and frequency response analysis.