3/8/18

Question Bank

Internal Assessment Test-1  (IAT-1)

Module 1:  Principles of Measurement

- Draw block diagram for generalised measurement system and explain?

(diagram -03marks and explanation of all blocks-05 marks)

- Brief out classification of errors in measurement?

(Eplanation of each type of error with examples-full marks)

- Explain various types of errors in measurement and how to eliminate them?

(Eplanation of each type of error with examples-full marks)

- Define accuracy, Resolution, Precision,  Sensitivity with suitable eg?

(Definition together with example -02 mark each)

- How Q meter is used for measurement of low impedance. What the various sources of error in Q meter.

(Diagram, equation, explanation-05marks  and two sources of error -03 marks)

- Define Q factor and explain working of a Q meter  for  a Q factor measurement?

(Definition(02) together with diagram(02) and working principle(04))

- Derive an expression for inductance measurement using Hay Bridge?

(diagram -02marks and derivation-03 marks, advantages and disadvantages-03 marks)

- Explain electrodynameter type Wattmeter?

(diagram -03marks and explanation -05 marks)

- Derive  an expression for resistance Wheatstone bridge ?

(diagram -02marks and derivation-03 marks, advantages and disadvantages-03 marks)

- Application of Q meter?

(list applications-03 basic idea of Q meter -02 marks)

- List name of bridges for RLC measurement with proper classification?

(AC,DC bridges –list 05 marks)

- Explain Kelvin double bridge & state its application for measurement of inductance?

(diagram -02marks and derivation-03 marks, advantages , disadvantages and application-03 marks)

- Draw and discuss Hay bridge  and its application for measurement of inductance?

(diagram -02marks and derivation-03 marks, advantages , disadvantages and application-03 marks)

- Explain Maxwell’s bridge for measurement of  inductance & state its application?

(diagram -02marks and derivation-03 marks, advantages , disadvantages and application-03 marks)

- Explain Schering  bridge?

(diagram -02marks and derivation-03 marks, advantages , disadvantages and application-03 marks)

- Derive an expression for the resistance using wheatstone bridge.

(diagram -02marks and derivation-03 marks, advantages , disadvantages and application-03 marks)

- Mention the sources of error in q meter. Explain how Q meter is used to measure the high impedance.

(Diagram, equation, explanation-05marks  and two sources of error -03 marks)

- Define power and energy . Explain the working of electrodynamometer  wattmeter?

(diagram -02marks and explanation -04 marks, definitions of power and energy -02 marks)