Syllabus

| Module No. | Unit No. | Detailed Content | Hours |
| --- | --- | --- | --- |
| 1 |  | Principle of Measurement, Testing and Measuring instruments | 07 |
|  | 1.1 | Introduction to Basic instruments: Components of generalized measurement system Concept of accuracy, precision, linearity, sensitivity, resolution, hysteresis, calibration. |  |
|  | 1.2 | Measurement of Resistance: Kelvin’s double bridge, Wheatstone bridge and Mega ohm bridge Measurement of Inductance: Maxwell bridge and Hey bridge Measurement of Capacitance: Schering bridge Q-Meter: Operating principle and applications Energy and power meters: Working of energy and power meter |  |
| 2 |  | Sensors and Transducers | 08 |
|  | 2.1 | Basics of sensors and Transducers-Active and passive transducers, characteristics and selection criteria of transducers, working principle of Eddy-current sensors, Pizoelectric transducers, photoelectric and photovoltaic sensors, capacitive sensors |  |
|  | 2.2 | Displacement and pressure- Potentiometers, pressure gauges, linear Variable differential transformers(LVDT) for measurement of pressure and displacement strain gauges |  |
|  | 2.3 | Temperature Transducers- Resistance temperature detectors(RTD). Thermistors and thermocouples , their ranges and applications |  |
| 3 |  | Telemetry and Data Acquisition System | 08 |
|  | 3.1 | Introduction and characteristics, Landline Telemetry, Radio Telemetry Types of Multiplexing Systems, |  |
|  | 3.2 | Data Acquisition: Components of Analog and Digital Data Acquisition System, |  |
|  | 3.3 | Uses of Data Acquisition System, Use of recorders in Digital systems, Modern Digital Data Acquisition System. |  |

| 4 |  | Introduction to control system Analysis | 07 |
| --- | --- | --- | --- |
|  | 4.1 | Introduction: Open and closed loop systems, example of control systems |  |
|  | 4.2 | Modelling: Modelling, Transfer function model of electrical systems, Block diagram reduction techniques and Signal flow graph |  |
|  | 4.3 | Dynamic Response: Standard test signals, transient and steady state behaviour of first and second order systems , steady state errors in feedback control systems and their types |  |
| 5 |  | Stability Analysis in Time Domain | 08 |
|  | 5.1 | Concept of stability: Routh and Hurwitz stability criterion |  |
|  | 5.2 | Root locus Analysis: Root locus concept, general rules for constructing root-locus ,root locus analysis of control system, concept of design of lag and lead compensator |  |
| 6 |  | Stability Analysis in frequency domain | 10 |
|  | 6.1 | Introduction: Frequency domain specification, Relationship between time and frequency domain specification of system, stability margins |  |
|  | 6.2 | Bode Plot: Magnitude and phase plot, Method of plotting Bode plot, Stability margins and analysis using bode plot. Frequency response analysis of RC,RL,RLC circuits |  |
|  | 6.3 | Nyquist Criterion: Concept of Polar plot and Nyquist plot, Nyquist stability criterion ,gain and phase margin |  |

Course outcome

Students will be able to

Lesson plan

| Lec No. | CO’s | Topics Covered | Mode of teaching/ Remark |
| --- | --- | --- | --- |
|  |  | Principle of Measurement, Testing and Measuring instruments |  |
| 1 | CO1 | Introduction to subject: Measurement, Basic requirements, Significance of measurement, Methods of measurement , Instrument and measurement systems, Evolution of instruments, Classification of Instruments , Types of Instrumentation system, Elements of generalized measurement system , Detailed generalized measurement system | Chalk Board + PPT |
| 2 | CO1 | Static and dynamic characteristics – Accuracy, precision, linearity, resolution, sensitivity, hysteris. Errors in measurement ,Numericals | Chalk Board |
| 3 | CO1 | Introduction to bridges, wheatstone bridge balanced and unbalanced with numerical | Chalk Board |
| 4 | CO1 | Kelvins bridge, kelvins double bridge, megger | Chalk Board + PPT |
| 5 | CO1 | Exampes on Kelvins bridge and Mega Ohm bridge | Chalk Board |
| 6 | CO1 | Measurement of Inductance: Maxwell bridge and Hey bridge with examples | Chalk Board + PPT |
| 7 | CO1 | Measurement of Capacitance: Schering bridge with examples | Chalk Board + PPT |
| 8 | CO1 | Q-Meter: Operating principle and applications Energy and power meters: Working of energy and power meter | PPT’s |
| 9 | CO1 | Revision and doubt solving session of module 1 | PPT’s |
|  |  | Sensors and Transducers |  |
| 10 | CO2 | Basics of sensors and Transducers-Active and passive transducers, characteristics and selection criteria of transducers | PPT’s |
| 11 | CO2 | working principle of Eddy-current sensors, Piezoelectric transducers, photoelectric and photovoltaic sensors, capacitive sensors | PPT’s |
| 12 | CO2 | Displacement and pressure- Potentiometers, pressure gauges, linear Variable differential transformers(LVDT) for measurement of pressure and displacement strain gauges | PPT’s |
| 13 | CO2 | Temperature Transducers- Resistance temperature Detectors (RTD). Thermistor's and thermocouples , their ranges and applications | PPT’s |
| 14 | CO2 | Real life examples of transducers and sensors | PPT’s |
| 15 | CO2 | Revision and doubt solving session of module 2 | PPT’s |
|  |  | Telemetry and Data Acquisition System |  |
| 16 | CO3 | Data Acquisition: Components of Analog and Digital Data Acquisition System | PPT’s |
| 17 | CO3 | Uses of Data Acquisition System, Use of recorders in Digital systems, Modern Digital Data Acquisition System. | PPT’s |
|  |  | Introduction to control system Analysis |  |
| 18 | CO4 | Introduction: Open and closed loop systems, example of control systems | Chalk Board |
| 19 | CO4 | Modelling: Transfer function model of electrical systems, Block diagram reduction techniques and Signal flow graph | Chalk Board |
| 20 | CO4 | Block diagram representation of systems and reduction methods Determination of Closed loop transfer function using Block diagram Reduction Technique | Chalk Board |
| 21 | CO4 | Block diagram Reduction Technique- Problems | Chalk Board |
| 22 | CO4 | Block diagram Reduction Technique- Problems | Chalk Board |
| 23 | CO4 | Terminologies of Signal Flow Graph and Mason’s Gain Formula Determination of Closed loop transfer function using Mason’s gain Formula | Chalk Board |
| 24 | CO4 | Mason’s gain Formula - Problems | Chalk Board |
| 25 | CO4 | Mason’s gain Formula - Problems | Chalk Board |
| 26 | CO4 | Dynamic Response: Standard test signals, , steady state errors in feedback control systems and their types | Chalk Board |
| 27 | CO4 | Transient and Steady state behaviour of first and second order systems, Time response of second order systems- Different Damping conditions | Chalk Board |
| 28 | CO4 | Time domain specifications – Rise time, Peak time, Peak Overshoot and Settling time derivations | Chalk Board |
| 29 | CO4 | Time domain specifications - Problems | Chalk Board |
| 30 | CO4 | Time domain specifications - Problems | Chalk Board |
| 31 | CO4 | Types and order of systems and determination of Steady State Error using Static Error Constant – Positional, Velocity and Acceleration Error Constant | Chalk Board |
| 32 | CO4 | Steady State Error - Problems | Chalk Board |
|  |  | Stability Analysis in Time Domain |  |
| 33 | CO5 | Concept of stability: Routh and Hurwitz stability criterion, Routh and Hurwitz stability criterion - Problems |  |
| 34 | CO5 | Routh and Hurwitz stability criterion - Problems | Chalk Board |
| 35 | CO5 | Root locus Analysis: Root locus concept, general rules for constructing root-locus | Chalk Board |
| 36 | CO5 | Root locus - Problems | Chalk Board |
| 37 | CO5 | Root locus - Problems | Chalk Board |
|  |  | Stability Analysis in frequency domain |  |
| 38 | CO6 | Introduction: Frequency domain specification, Relationship between time and frequency domain specification of system, stability margins | Chalk Board |
| 39 | CO6 | Bode Plot: Magnitude and phase plot, Method of plotting Bode plot,Stability margins and analysis using bode plot. Frequency response analysis of RC,RL,RLC circuits | Chalk Board |
| 40 | CO6 | Bode Plot - Problems | Chalk Board |
| 41 | CO6 | Bode Plot - Problems | Chalk Board |
| 42 | CO6 | Bode Plot - Problems | Chalk Board |
| 43 | CO6 | Nyquist Criterion: Concept of Polar plot and Nyquist plot, Nyquist stability criterion ,gain and phase margin | Chalk Board |
| 44 | CO6 | Nyquist Plot - Problems | Chalk Board |
| 45 | CO6 | Nyquist Plot – Problems | Chalk Board |